| LASER SURVEY FORM |  |
| --- | --- |

- Complete this form for all Class 3R (formally 3A), 3B and 4 Lasers.

- Complete before being put into use for the first time and annually thereafter.

The form takes all the manufacturing and user requirements into account and provides a checklist to see if the laser installation is observing all the requirements recommended by BS EN 60825.  Where a box cannot be ‘ticked off’ the user should be employing some other protective measures justified by a risk assessment.

| Faculty/Directorate (and Department): |  |
| --- | --- |
| Campus and building: |  |  | Room: |  |
| Make: |  |  | Mode: |  |
| Model: |  |  | Wavelength: |  |
| Serial No: |  |  | Max Power: |  |
| Type: |  |  | Class: |  |

| Precautions | 1M | 2 | 2M | 3R | 3B | 4 | 1(E) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Remote Interlock | n/a | n/a | n/a | n/a |  |  | n/a |
| Safety Interlocks | n/a | n/a | n/a |  |  |  |  |
| Key Control | n/a | n/a | n/a | n/a |  |  |  |
| Emission Indicator | n/a | n/a | n/a |  |  |  |  |
| Beam Stop/Shutter | n/a | n/a | n/a | n/a |  |  | n/a |
| Beam Terminator |  | n/a |  |  |  |  | n/a |
| Beam Level |  |  |  |  |  |  | n/a |
| Beam Enclosure | n/a | n/a | n/a |  |  |  |  |
| Eye Protection | n/a | n/a | n/a |  |  |  | n/a |
| Protective Clothing | n/a | n/a | n/a | n/a |  |  | n/a |
| Eye Examinations | n/a | n/a | n/a | n/a |  |  | n/a |
| Training |  | n/a |  |  |  |  |  |
| Laser Labels |  |  |  |  |  |  |  |
| Door/Area Signs | n/a | n/a | n/a | n/a |  |  | n/a |

NB Class 1(E) indicates a Class 1 totally enclosed system

| Additional administrative controls: |  |
| --- | --- |
| Laser installation: | Satisfactory / Not Satisfactory (delete as appropriate) |
| Recommendations if necessary: |  |
| Completed by Laser Safety Supervisor: |
| Name |  | Signature |  | Date |  |
| (block capitals) |
| Copy of completed form sent to University Laser Safety Adviser on |  |

safetyunit@gre.ac.uk

February 2012 (reviewed July 2016)